GOVERNMENT OF THE PEOPLE’S REPUBLIC OF BANGLADESH

PRISONS DIRECTORATE

30/3, Umesh Datta Road, Bakshi Bazar, Dhaka-1211

www.prison.gov.bd

Memo. No. 44.07.0000.030.03.001.15-	207						date: 19-02-2015

## The Tender documents against Invitation for Tender (IFT) No. 44.07.0000.030.03.001.15-53 date: 27-01-2015 is hereby amended in Section 6. Schedule of Requirement (Package-A & B, Package-C and Package-D), Section 7: Technical Specifications, Section 2: Tender Data Sheet, Section 4.	Particular Conditions of Contract and Terms & Condition (bangla) as per observations raised by the respective Tenderes/Bidders.

Amendment

# Section 6.	Schedule of Requirements

| Invitation for Tender No: | 4.07.0000.030.03.001.15-53 | Date | 27-01-2015. |
| --- | --- | --- | --- |
| Tender Package No: | Package-A & B, Pacakge-C, Package-D |  |  |
| This Section provides the List of Goods and Delivery Schedule and List of Related Services and Completion Schedule and must be carefully prepared by a Procuring Entity for each object of procurement The Procuring Entity may include the delivery of a limited supply of fast-moving and/or hard-to-find spare parts in this Schedule of Requirement. This is to ensure the continued use or operation of the equipment. |

A.	List of Goods and Delivery Schedule

When completing Form PG3-2 the Tenderer shall quote prices and contract delivery dates for each item against each lot and show each Lot separately, as specified in the List of Goods and Delivery Schedule.)

| Item No. | Description of Item | Unit of Supply | Quantity of Units required | Point of Delivery | Date Required (in weeks) |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |
|  | List of Medicines and Equipments, Medical & Dental Instruments are enclosed herewith in Package-A & B, Pacakge-C, Package-D |  |
| Lot No 1: The Tenderer shall quote prices in enclosed Package-A & B, Pacakge-C, Package-D |

Note 1: The Procuring Entity must specify the option from which the delivery required will start:

  - The supply of Medicines, Medical & Dental Instruments should be completed within 12 (twelve) weeks from the date of issuing supply order.

  - The Tenderers shall contract with the procuring Entity within 7 days from the date Notification Award.

B.	List of Related Services and Completion Schedule

The successful Tenderer will supply the Medicines (Package- A & B) to all Central and District Jail and Medical & Dental Instruments (Package- C & D) to Prisons Directorate Central Depot. by their won cost as per work order. The Purchaser's right to inspect, test and where appropriate reject the Goods after delivery, shall in no way be limited or waived by the reason of Goods having previously been inspected, tested or passed by the Purchaser or its representative prior the Goods shipment. (c) The period of validity of the Warranty shall be: The medicine must have minimum 02 years or actual shelf life 80% from the date of supply.

When completing Form PG3-2 the Tenderer shall quote prices and Completion date for services for each item against each lot

Medicine List “Package – A”

| Code No | Generic name of Medicine | Unit | Quantity | Unit Rate |
| --- | --- | --- | --- | --- |
|  | Tab. Paracetamol- 500mg | No | 2079500 |  |
|  | Tab. Paracetamol- 500mg + Caffeine- 65mg | No | 497500 |  |
|  | Tab. Aspirin- 75mg | No | 161450 |  |
|  | Tab/Cap. Diclofenac Sodium SR- 100mg | No | 662700 |  |
|  | Tab. Aceclofenac- 100mg | No | 438500 |  |
|  | Tab. Neproxen- 500mg | No | 263200 |  |
|  | Tab. Ketoprofen- 50mg | No | 258000 |  |
|  | Tab. Ketorolac tromethamine- 10mg | No | 272600 |  |
|  | Tab. Baclofen BP- 10mg | No | 158800 |  |
|  | Tab. Allopurinol- 100mg | No | 59750 |  |
|  | Tab/Cap. Pregabalin- 75mg | No | 96300 |  |
|  | Tab. Glucosamine HCl USP- 250mg & chondroitin sulphate sodium USP- 200mg- 450mg | No | 79750 |  |
|  | Tab. Dexamethasone- 0.5mg | No | 90100 |  |
|  | Tab. Prednisolone- 5mg | No | 91100 |  |
|  | Tab. Hyoscine Butyl Bromide -10 mg | No | 312600 |  |
|  | Tab. Domperidon- 10 mg | No | 647500 |  |
|  | Tab. Tiemonium methyl sulphate-50 mg | No | 140600 |  |
|  | Tab. Cinnarizine- 15mg | No | 160600 |  |
|  | Tab. Dried Aluminium Hydroxide gel- 400mg & Magnesium Hydroxide- 400mg+Simethicone USP- 30mg | No | 1134000 |  |
|  | Tab. Ranitidine- 150mg | No | 3744500 |  |
|  | Tab/Cap. Esomeprazole- 20mg | No | 412300 |  |
|  | Tab. Prochlorperazine- 5mg | No | 245200 |  |
|  | Tab. Mebevarin- 135mg | No | 95850 |  |
|  | Tab Tegaserode- 6mg | No | 43100 |  |
|  | Tab. Diosmine 450mg+ Hesperidine 50mg- 500 mg | No | 115450 |  |
|  | Tab. Albendazole- 400mg | No | 180300 |  |
|  | Tab. Bisacodyl- 5mg | No | 75900 |  |
|  | Tab. Carbamazepine- 200mg | No | 37700 |  |
|  | Tab. Metronidazole- 400mg | No | 792200 |  |
|  | Tab. Co-trimoxazole-960mg | No | 115400 |  |
|  | Tab. Ciprofloxacin- 500mg | No | 711500 |  |
|  | Tab. Azithromycin- 500 mg | No | 304200 |  |
|  | Tab. Levofloxacin- 500 mg | No | 284200 |  |
|  | Tab. Cefuroxime axetil- 250mg | No | 311600 |  |
|  | Tab. Amoxacillin+clavuranic Acid- 625mg | No | 97650 |  |
|  | Tab. Fluconazole VT | No | 23560 |  |
|  | Tab. Phenoxymethyl Penicillin BP- 250mg | No | 536000 |  |
|  | Tab. Salbutamol- 4mg | No | 354300 |  |
|  | Tab. Bambuterol Hydrochloride- 10mg | No | 61250 |  |
|  | Tab. Montelucast- 10mg | No | 118800 |  |
|  | Tab. Aminophylline- 100mg | No | 221800 |  |
|  | Tab. Theophylline- 400 mg | No | 109500 |  |
|  | Tab. Ketotifen- 1mg | No | 115700 |  |
|  | Tab. Chlorpheniramine Maleate- 4mg | No | 1929000 |  |
|  | Tab. Cetirizine- 10mg | No | 757500 |  |
|  | Tab. Fexofenadin- 120mg | No | 116300 |  |
|  | Tab. Atenolol- 50mg | No | 388400 |  |
| Code No | Generic name of Medicine | Unit | Quantity | Unit Rate |
|  | Tab. Amlodipine- 5mg | No | 361000 |  |
|  | Tab. Propranolol- 10mg | No | 81200 |  |
|  | Tab. Atorvastatin- 10mg | No | 148400 |  |
|  | Tab. Losertan potassium- 25mg | No | 107200 |  |
|  | Tab. Losartan potassium- 50mg+ hydrochlorothiazide-12.5 mg | No | 122400 |  |
|  | Tab. Clopidrogrel- 75mg | No | 97620 |  |
|  | Tab. Glycerine Tri Nitrate Retard- 2.6mg | No | 116150 |  |
|  | Tab. Ramipril- 5mg | No | 34300 |  |
|  | Tab. Ramipril- 2.5mg | No | 51850 |  |
|  | Tab. Frusemide- 40mg | No | 25770 |  |
|  | Tab. Gliclazide- 80mg | No | 339300 |  |
|  | Tab. Metformin HCL- 500mg | No | 225900 |  |
|  | Tab. Diazepam- 5mg | No | 208700 |  |
|  | Tab. Bromazipam- 3mg | No | 105600 |  |
|  | Tab. Clonazepam- 0.5mg | No | 128900 |  |
|  | Tab. Flupenthixol HCL-0.5mg +Melitracen HCL-10mg | No | 110450 |  |
|  | Tab. Amitriptyline- 25mg | No | 174900 |  |
|  | Tab. Haloperidol- 5mg | No | 55650 |  |
|  | Tab. Chlorpromazine- 100mg | No | 103550 |  |
|  | Tab. Procyclidine- 5mg | No | 140600 |  |
|  | Tab/Cap. High potency Vitamin A-Z- (15 Tab/Bottle) | No | 257650 |  |
|  | Tab/Cap. Iron+folic acid-150mg + 200mg (Strip) | No | 232000 |  |
|  | Tab. Thiamine HCL (Vita– B1)- 100mg | No | 175700 |  |
|  | Tab. Riboflabin- 5mg | No | 317800 |  |
|  | Tab. Vit. B1,12,6 | No | 282450 |  |
|  | Tab. Ascorbic Acid- 250mg | No | 710500 |  |
|  | Tab. Calcium Carbonate- 500mg | No | 658000 |  |
|  | Tab. Calcium- 500 mg + Vita- D3 200 iu (Strip) | No | 283750 |  |
|  | Cap. Indomethacin- 25mg | No | 221300 |  |
|  | Cap. Omeprazole- 20mg | No | 3221500 |  |
|  | Cap. Omeprazole- 40mg | No | 465000 |  |
|  | Cap. Amoxicillin- 500mg | No | 870500 |  |
|  | Cap. Flucloxacillin- 500mg | No | 865500 |  |
|  | Cap. Doxycycline- 100mg | No | 397300 |  |
|  | Cap. Cephradine- 500mg | No | 631300 |  |
|  | Cap. Cefadroxil- 500mg | No | 275500 |  |
|  | Tab/Cap. Cefixime trihydrate- 200mg | No | 280700 |  |
|  | Tab/Cap. Fluconazole- 50 mg | No | 140600 |  |
|  | Cap. Tranexamic acid BP- 500mg | No | 58650 |  |
|  | Cap.Vitamin B Complex | No | 1213000 |  |
|  | Cap. Dried Fe Sulfate150mg+ ZN Sulfate Monohydrade-61.8+Folic Acid- 5 mg | No | 208800 |  |
|  | Syp/Susp. Paracetamol 120mg/5ml- 60ml | Bottle | 5520 |  |
|  | Susp. Domperidone 5mg/5ml- 60ml | Bottle | 2586 |  |
|  | Lactulose oral solution 3.4mg/5ml-100ml | Bottle | 8995 |  |
|  | Susp. Albendazole 200mg/5ml- 10ml | Bottle | 1972 |  |
|  | Syp.Chlorpheniramine Meleate 2mg/5ml- 100ml | Bottle | 5030 |  |
|  | Syp. Bromhexine hydrochloride BP 4mg/5ml- 100ml | Bottle | 3193 |  |
|  | Syp. Salbutamol 2mg/5 ml- 100ml | Bottle | 2355 |  |
|  | Susp. Metronidazole 200mg/5ml- 60ml | Bottle | 2124 |  |

| Code No | Generic name of Medicine | Unit | Quantity | Unit Rate |
| --- | --- | --- | --- | --- |
|  | Susp. Amoxicillin (Powder) 125mg/5ml- 100ml | Bottle | 4305 |  |
|  | Susp. Flucloxacillin (Powder) 125mg/5ml- 100ml | Bottle | 1687 |  |
|  | Susp. Cefixime trihydrate 100mg/5ml- 50ml | Bottle | 1956 |  |
|  | Susp. Azithromycin 200mg/5ml- 30ml | Bottle | 2201 |  |
|  | Drop. Nystatin 100000 units/1ml- 12ml | Bottle | 1663 |  |
|  | Syp. Zinc sulphate monohydrate USP10mg/5ml-100ml | Bottle | 2267 |  |
|  | Inj. Diclofenac Sodium-75mg & Lidocaine hydrochloride- 20mg/2ml | Amp | 9870 |  |
|  | Inj. Ketorolac Tromethamin 30 mg | Amp | 6435 |  |
|  | Inj. Dexamethason sodium phosphate- 5mg/1ml | Amp | 2689 |  |
|  | Inj. Hydrocortisone- 100mg | vial | 2242 |  |
|  | Inj. Hyoscine Butyl Bromide 20mg/1ml | Amp | 5064 |  |
|  | Inj. Tiemonium methylsulfate INN- 5mg/2ml | Amp | 4120 |  |
|  | Inj. Prochlorperazine- 12.5mg/1ml | Amp | 1932 |  |
|  | Inj. Ranitidine- 50mg/2ml | Amp | 6550 |  |
|  | Inj. Omeprzole sodium BP 40mg | vial | 7070 |  |
|  | Inj. Metronidazole- 500mg/100ml | Bag/Bottle | 2753 |  |
|  | Inj. Ciprofloxacin 200mg- 100ml | Bag/Bottle | 2817 |  |
|  | Inj. Cefuroxime USP- 1.5gm | Vial | 2838 |  |
|  | Inj. Ceftriaxone I/V- 2gm | Vial | 5604 |  |
|  | Inj. Diazepam BP- 10mg | Amp | 3155 |  |
|  | Inj. Frusemide BP- 20mg | Amp | 941 |  |
|  | Inj. Purified tetanus toxoid 40 i.u/0.5ml | Amp | 2723 |  |
|  | Inj. Lignocaine HCL 2%- 50ml | Vial | 468 |  |
|  | Inj. Tranexamic acid BP- 500mg/5ml | Amp | 869 |  |
|  | Inj. Regular or soluble human Insulin (rDNA) 40 iu/ml s.c injection. | Vial | 1040 |  |
|  | Inj. Regular or soluble human Insulin (rDNA) 100 iu/ml s.c injection. | Vial | 1219 |  |
|  | Inj. Biphasic isophane insulin human (rDNA) 30% as soluble insulin & 70% as isophen insulin 40 iu/ml. | Vial | 1024 |  |
|  | Inj. Biphasic isophane insulin human (rDNA) 30% as soluble insulin & 70% as isophen insulin 100 iu/ml. | Vial | 1176 |  |
|  | Inj. Cholera fluid- 1000ml with infusion set | Bag/Bottle | 3097 |  |
|  | Inj. 5% Dextrose in aqua-1000ml with infusion set | Bag/Bottle | 3495 |  |
|  | Inj. 5% Dextrose in aqua & 9% Sodium chloride-1000ml with infusion set | Bag/Bottle | 3465 |  |
|  | Inj. 9% Sodium chloride- 1000ml with infusion set | Bag/Bottle | 1625 |  |
|  | Inj. Distilled water for injection- 5ml | Amp | 2575 |  |
|  | Oral Rehydration Salt (ORS) 0.5 litre formula | Pkt | 727200 |  |
|  | Cream Betamethasone BP 1%+ Neomycin sulphate 0.5% -5gm | Tube | 14005 |  |
|  | Cream Econazol nitrate-10gm | Tube | 15080 |  |
|  | Cream Econazol 1% & Triamcinolone 1%-10gm | Tube | 13215 |  |
|  | Cream 5% Permethrin- 30gm | Tube | 17335 |  |
|  | Oint.Neomycin Sulphate & Bacitracin- 20gm | Tube | 5785 |  |
|  | Oint. Benzoic & saliceylic acid- 25gm | Tube | 13015 |  |
|  | Cream Povidone Iodine- 5gm | No | 2167 |  |
|  | Oint. Aesculin1% Cinchocain HCL 0.5% & Hydrocortison 0.5% Neomycin Sulphat 1%-15gm | No | 2722 |  |
|  | Emulsion Benzyl Benzoate 25%- 100ml | Bottle | 5192 |  |
|  | Solution Povidone Iodine USP 10%- 100ml | Bottle | 2753 |  |
|  | Chloramphenicol eye Ointment 1%- 5gm | Tube | 3930 |  |
| Code No | Generic name of Medicine | Unit | Quantity | Unit Rate |
|  | Drop. Chloramphenicol eye drop BP 0.5% 10ml | Bottle | 7815 |  |
|  | Drop. Ciprofloxacine eye drop-10ml | No | 3717 |  |
|  | Drop. Dexamethasone eye drop 0.1%- 5ml | No | 2137 |  |
|  | Drop. Xylometazoline HCL 0.1% (Nassal Drop)- 15ml | Bottle | 4480 |  |
|  | Inhaler. Salbutamol BP-100 mcg/puff- 200 Doses | Can | 6909 |  |
|  | Inhaler. Beclomethasone-100 mcg/puff- 200 Doses | Can | 2890 |  |
|  | Inhaler Salmeterol + Fluticason propionate- 250mcg | Can | 2141 |  |
|  | Spray. Glycerine tri-nitrate (nitroglycerine) 400 mcg/metereted dose | No | 1649 |  |
|  | Diclofenac suppository- 50mg | No | 6650 |  |
|  | Paracetamol Suppository- 250mg | No | 4860 |  |
|  | Chlorhexidine glucomate 0.5% w/w in 70% isopropanol solution for hand rub- 250ml | Bottle | 1366 |  |

List of Medicine “Package– B”

| Code No | Generic name of Medicine | Unit | Quantity | Unit Rate |
| --- | --- | --- | --- | --- |
|  | Tab. Prednisolon- 20 mg | No | 15900 |  |
|  | Tab. Gabapentin- 300mg | No | 10200 |  |
|  | Tab. Pentoprazole- 20 mg | No | 118000 |  |
|  | Tab. Ondansetron- 08 mg | No | 16300 |  |
|  | Tab. Loratidine- 10mg | No | 85500 |  |
|  | Tab. Diltiazim Hcl- 90mg SR | No | 7550 |  |
|  | Tab. Indapamide- 1.5mg | No | 10000 |  |
|  | Tab. Isosorbid Mononitrate- 20mg | No | 12200 |  |
|  | Tab. Carvedilol- 12.5mg | No | 8650 |  |
|  | Tab. Metoprolol- 50 mg | No | 28300 |  |
|  | Tab. Digoxin- 0.25 mg | No | 7150 |  |
|  | Tab. Lereanidipine hydrochloride INN- 10mg | No | 5770 |  |
|  | Tab. Lacidipine hydrochloride- 2mg | No | 6960 |  |
|  | Tab. Trimetazidine HCL- 35mg | No | 33060 |  |
|  | Tab. Spironolactone- 25mg | No | 5550 |  |
|  | Tab.Frusemide-40mg + Spironolactone-50mg | No | 16150 |  |
|  | Tab/Cap. Tamsolosin HCL- 0.4mg | No | 22400 |  |
|  | Tab. Carbimazole- 5mg | No | 11600 |  |
|  | Tab. Risperidon- 2mg | No | 24150 |  |
|  | Tab. Midazolam- 7.5 mg | No | 17700 |  |
|  | Tab. Olanzapine- 5mg | No | 28100 |  |
|  | Tab. Olanzapine- 10mg | No | 19900 |  |
|  | Tab. Mirtazapine USP- 15mg | No | 14900 |  |
|  | Tab/Cap. Flunarizine- 5mg | No | 7050 |  |
|  | Tab. Quetiapine fumarate INN- 25mg | No | 14300 |  |
|  | Tab. Prazocine Hcl- 2mg | No | 7680 |  |
|  | Tab. Tolperison Hcl- 50 mg | No | 32100 |  |
|  | Tab. Sodium Valproate BP-199.8mg+Valproic acid BP 87mg- 300mg | No | 20600 |  |
|  | Tab. Folic acid- 5mg | No | 25700 |  |
|  | Tab. Pyridoxin Hcl BP- 20mg | No | 26700 |  |
|  | Tab. Northisteron Accetade- 5mg | No | 3750 |  |
|  | Cap. Tramadol Hcl- 50mg | No | 21600 |  |
|  | Cap. Fluvastatin Na- 20mg | No | 6900 |  |
|  | Cap. Fluexatin-20mg | No | 4300 |  |
|  | Cap. Fluconazole-150mg | No | 10200 |  |
|  | Inj.Tramadol HCL- 50 mg | Vial | 1110 |  |
|  | Inj.Ondansetron 8mg | Amp | 800 |  |
|  | Inj. Atropine sulfate 0.6mg | Amp | 295 |  |
|  | Inj. Flufenazine deconate- 25mg | Amp | 480 |  |
|  | Inj. Flupenthixole- 40mg | Amp | 310 |  |
|  | Inj. Pathedin HCL- 100mg | Amp | 938 |  |
|  | Inj. Theopental Na- 1gm | Amp | 355 |  |
|  | Inj. Suxamethonium- 1gm | Vial | 390 |  |
|  | Inj. Vacuronium Bromid- 10mg | Vial | 325 |  |
|  | Inj. Neostigmine methyle sulphate | Vial | 915 |  |
|  | Inj. Atracurium Besylate- 25mg | Amp | 245 |  |
|  | Inj. Ephedrine Hydrochloride | Amp | 295 |  |
|  | Inj. Heparine sodium 5000 iu | Amp | 205 |  |
|  | Inj. Enoxaparin sodium- 60mg | Amp/PFS | 1080 |  |
| Code No | Generic name of Medicine | Unit | Quantity | Unit Rate |
|  | Inj. Adrenaline- 1mg | Amp | 160 |  |
|  | Inj. Fentanyl Citrate- 50ugm/1ml | Amp | 245 |  |
|  | Inj. Hynidase (Hyluronidase – I.P.) 1500 iu | Amp | 103 |  |
|  | Inj. Omnipaque 370 mg- 50ml | Vial | 115 |  |
|  | Inj. Omnipaque 370 mg- 100ml | Vial | 86 |  |
|  | Inj. Manitol 20% 200mg- 500ml | Vial | 172 |  |
|  | Inj. A composite 5% amino acid preparation, containing essential and semi-essential amino acids with D-sorbitol: i.v infusion- 500 ml | Bottle | 487 |  |
|  | Inj. Bupivacaine Hcl 5ml & Dextrose 80mg/ 4ml | Bag | 325 |  |
|  | Inj. Hartsman Solution- 1000ml with infusion set | No | 1335 |  |
|  | Inj. Lidocain Hcl 2% with adrenaline- 50ml | Vial | 154 |  |
|  | Povidone Iodine- 1% (Mouth wash)-100ml | Bottle | 621 |  |
|  | Sulbutamole Respiratory Solution- 20ml | Bottle | 366 |  |
|  | Ipratropium Respiratory Solution- 20ml | Bottle | 307 |  |
|  | Usole Solution- 100ml | Bottle | 186 |  |
|  | Hydrozen Per Oxide- 100ml | Bottle | 305 |  |
|  | Lomefloxacine eye drop 0.3%- 5ml | No | 610 |  |
|  | Timolol eye drop 0.50%- 5ml | No | 235 |  |
|  | Tropicamide Bp eye drop 0.5%- 5ml | No | 195 |  |
|  | Glycerine suppository Adult | No | 2500 |  |
|  | Tramadol suppository-100mg | No | 1330 |  |

List of Medical Instruments “Package– C”

| Code No | Generic name of Medicine | Unit | Quantity | Unit Rate |
| --- | --- | --- | --- | --- |
|  | Stethoscope | No | 174 |  |
|  | B.P Machine (arenoid) | No | 180 |  |
|  | Thermometer (mercury) | No | 620 |  |
|  | Strecher | No | 98 |  |
|  | Patient Trolley | No | 63 |  |
|  | Wheel Chair | No | 85 |  |
|  | Weight Machine (analoue) | No | 129 |  |
|  | Needle Holder | No | 84 |  |
|  | B.P Handle | No | 85 |  |
|  | Tooth Dissecting Forceps | No | 95 |  |
|  | Plain Forceps | No | 104 |  |
|  | Artery Forceps (plain) | No | Small- 51 Medium- 80 |  |
|  | Artery Forceps (curved) | No | Small- 45 Medium- 70 |  |
|  | Stitch Cutting Scissor | No | 104 |  |
|  | Plain Scissor(Small, Medium Size) | No | Small- 33 Medium- 70 |  |
|  | Bandage/Gauge Cutting Scissor | No | 97 |  |
|  | Kidney Tray (Small, Medium, Large Size) | No | Small- 18 Medium- 30 Large- 10 |  |
|  | Lifter with Jar | No | 52 |  |
|  | Surgical Dram (Small, Medium) | No | Small-22 Medium-35 |  |
|  | ECG Machine | No | 48 |  |
|  | Nebulizor Machine | No | 52 |  |
|  | Autoclave Machine | No | 44 |  |
|  | Clorhexidine gluconate 1.5%+cetrimide 3%- 5 Liter | Cont. | 542 |  |
|  | Adhesive Surgical tape- 2 inch | No | 2476 |  |
|  | Bi-Chenel Foly’s Catheter (Bardia) 14Fr,16Fr | No | 794 |  |
|  | Urine Collection bag | No | 785 |  |
|  | Intra venous cannula- 18G, 20G, 22G | No | 1732 |  |
|  | Mersilk (Cutting body needle) 2/0 | No | 833 |  |
|  | Gauge in than (14-18 Yard) | No | 1568 |  |
|  | Cotton in roll- 400gm | No | 1726 |  |
|  | Plaster of Paris 6 inch. | No | 1631 |  |
|  | Disposable Syringe 3.c.c | No | 18110 |  |
|  | Disposable Syringe 5.c.c | No | 17412 |  |
|  | Insulin Syringe 40 Unit | No | 3760 |  |
|  | Insulin Syringe 100 Unit | No | 4120 |  |
|  | Polypropylene monofilament blue (R/B) No- 1 | No | 130 |  |
|  | Polypropylene monofilament blue (R/B) No- 1/0 | No | 150 |  |
|  | Polypropylene monofilament blue (R/B) No- 2 | No | 130 |  |
|  | Polypropylene monofilament blue (R/B) No- 2/0 | No | 110 |  |
|  | Polypropylene monofilament blue (R/B).No- 3 | No | 120 |  |
|  | Polypropylene monofilament blue (R/B).N- 3/0 | No | 110 |  |
|  | Polypropylene monofilament blue (C/B) No- 1 | No | 120 |  |
|  | Polypropylene monofilament blue (C/B) No- 1/0 | No | 142 |  |
| Code No | Generic name of Medicine | Unit | Quantity | Unit Rate |
|  | Polypropylene monofilament blue (C/B) No- 2 | No | 140 |  |
|  | Polypropylene monofilament blue (C/B) No- 2/0 | No | 107 |  |
|  | Polypropylene monofilament blue (C/B)No- 3 | No | 114 |  |
|  | Polypropylene monofilament blue (C/B)No- 3/0 | No | 97 |  |
|  | Atraumatic Catgut No- 1 | No | 110 |  |
|  | Atraumatic Catgut No- 1/0 | No | 105 |  |
|  | Atraumatic Catgut No- 2 | No | 112 |  |
|  | Atraumatic Catgut No- 2/0 | No | 102 |  |
|  | Atraumatic Catgut No- 3 | No | 90 |  |
|  | Atraumatic Catgut No- 3/0 | No | 103 |  |
|  | Silk braided coated black (R/B) No-1 | No | 140 |  |
|  | Silk braided coated black (R/B) No-1/0 | No | 134 |  |
|  | Silk braided coated black (R/B) No- 2 | No | 135 |  |
|  | Silk braided coated black (R/B) No- 2/0 | No | 130 |  |
|  | Silk braided coated black (R/B) No- 3 | No | 100 |  |
|  | Silk braided coated black (R/B) No- 3/0 | No | 85 |  |
|  | Silk braided coated black (reverse/cuttin) 2/0 | No | 107 |  |
|  | Polyglactin violet braided coated (R/B) No-1 | No | 106 |  |
|  | Polyglactin violet braided coated (R/B) No-1/0 | No | 110 |  |
|  | Polyglactin violet braided coated (R/B) No- 2 | No | 98 |  |
|  | Polyglactin violet braided coated (R/B) No- 2/0 | No | 103 |  |
|  | Polyglactin violet braided coated (C/B) No-1 | No | 90 |  |
|  | Polyglactin violet braided coated (C/B) No-1/0 | No | 103 |  |
|  | Polyglactin violet braided coated (C/B) No- 2 | No | 98 |  |
|  | Polyglactin violet braided coated (C/B) No- 2/0 | No | 113 |  |
|  | Bard parker blade(BP) No- 10,11,15, 20, 22 | No | 430 |  |
|  | Blood Transfusion set | No | 345 |  |
|  | Spinocaine needle 25-G | No | 180 |  |
|  | Sterile surgical gloves 6", 61/2" 7", 71/2" | No | 2538 |  |
|  | BMI Feeding Tube, 7Fr, 8Fr, 14Fr, 16Fr | No | 190 |  |
|  | Drain Tube 2Fr 14Fr,16Fr | No | 145 |  |
|  | Endotracial Tube 7,71/2,8 | No | 101 |  |
|  | Butterfly Neddle 19G, 21G. | No | 260 |  |
|  | Dispossable Syringe 10 c.c | No | 1200 |  |
|  | Dispossable Syringe 50 c.c | No | 300 |  |

List of Dental Instruments “Group – D”

| Code No | Generic name of Medicine | Unit | Quantity | Unit Rate |
| --- | --- | --- | --- | --- |
|  | Zinc Oxide (Powder)- 110gm | Bottle | 112 |  |
|  | Loose Normal ( 20ml in a bot)-110gm | Bottle | 117 |  |
|  | Silver Alloy, ANA- 2000 (43% silver)- 25gm | Bottle | 67 |  |
|  | Dental Mercurry 99.9995% Hg (sealed Packet)- 2 Ounce | Bottle | 37 |  |
|  | A/C Glass Ionomer 2 Large, GC- 10mg/7gm | Bottle | 42 |  |
|  | Light cure Glass Ionomer, GC- 5mg/3gm | Bottle | 41 |  |
|  | Alginate 450 mg | Pkt | 63 |  |
|  | Anesthesia Cartridge, Lignospan 2% | Cartidge | 504 |  |
|  | SS Wire, Soft 03, 0.4, 0.5, 0.6, 0.7, 0.8, 0.9mm | - | 49 |  |
|  | Arch bur | - | 13 |  |
|  | Zinc Phosphate Cement, Elite Cement- 100 GC-35/30gm | - | 37 |  |
|  | Plain Broach No. (15-40) | No | 22 |  |
|  | Root Canal Solution CMCP- 10gm | Bottle | 11 |  |
|  | Calal Finder, Ultra Canal (EDTA Solution)- 10gm | Bottle | 8 |  |
|  | Gutta Purcha Point, NO (15-80)- 50/bottle | Bottle | 37 |  |
|  | Disposable Needle, Dental | No | 1636 |  |
|  | Disposable Hand Gloves- 1boxs x100 | No | 137 |  |
|  | Disposable Syringe, Opso 3cc, 5cc | No | 240 |  |
|  | Disposable Water Glass | No | 32 |  |
|  | Surgical BP Blade No.12,15 | No | 264 |  |
|  | Root Canal Sealer, Seala pex | Box | 11 |  |
|  | T/C Volcanite Bur, Ash | No | 9 |  |
|  | Dia Bur Fissure For Turbine H/P | No | 67 |  |
|  | Dia Bur Round for Turbine H/P | No | 37 |  |
|  | Dia Bur Inverted For Turbine H/P | No | 18 |  |
|  | Dia Oval Shape Bur for H/P | No | 9 |  |
|  | Dia Wheel Shape Bur for H/P | No | 9 |  |
|  | Amalgam Polishing Bur for H/P | No | 12 |  |
|  | GI Polishing Bur For H/P | No | 12 |  |
|  | T/C Bur Fissure For H/P, SS White | No | 15 |  |
|  | T/C Bur Round for H/P, SS White | No | 15 |  |
|  | Polishing Rubber Cup Straight and Contra H/P | No | 9 |  |
|  | Polishing Brush Straight contra H/P | No | 12 |  |
|  | Sprit Rectified | Bottle | 16 |  |
|  | Disinfecet Solution, Quitanet Plus- 100ml | Bottle | 21 |  |
|  | 3/0 Silk with Needle Packet | Pkt | 35 |  |
|  | 3/0 Silk Roll, Focal | Roll | 29 |  |
|  | 1/2 circle Needle Packet | Pkt | 72 |  |
|  | Mirror Top with Handle Set, SS made | No | 54 |  |
|  | Probe, SS made | No | 48 |  |
|  | Excavator, SS made | No | 48 |  |
|  | Tweezer, SS made | No | 43 |  |
|  | Cement Lifter, SS made | No | 11 |  |
|  | Cement Spatula, SS made | No | 11 |  |
|  | Amalgam Plugger, SS made | No | 11 |  |
|  | Amalgam Gum Angle, SS made | No | 9 |  |
|  | Extraction Forceps Adult, Assorted, SS made | No | 27 |  |
|  | Eelvator, Assorted | No | 32 |  |
|  | Periosteal Elevator, Assorted, SS made | No | 14 |  |
|  | Cartridge Syringe, SS made | No | 135 |  |
| Code No | Generic name of Medicine | Unit | Quantity | Unit Rate |
|  | B.P Blade, SS made - No 15 | No | 67 |  |
|  | Artery/Mosquito Forceps Straight, SS made | No | 15 |  |
|  | Artery/Mosquito Forceps Curved, SS made | No | 15 |  |
|  | Adson Forceps, Tooth, SS made | No | 12 |  |
|  | Adson Forceps, Pain, SS made | No | 12 |  |
|  | Nedlle Holder, SS made | No | 15 |  |
|  | Allis Tissue Forceps, SS made | No | 12 |  |
|  | Scissors, Straight, SS made | No | 15 |  |
|  | Scissors, Curved, SS made | No | 15 |  |
|  | Scissors for GP Cutting, SS made | No | 10 |  |
|  | Scissors for Stitch Cutting, SS made | No | 13 |  |
|  | Bone Nibbler, SS made | No | 10 |  |
|  | Bone File, SS made | No | 11 |  |
|  | Wire Twister, SS made | No | 10 |  |
|  | Spoon Curator, SS made | No | 13 |  |
|  | Bone Curator, SS made | No | 13 |  |
|  | Ball Varnisher, SS made | No | 9 |  |
|  | SS Imp. Tray perforated, SS - 3 Set | Set | 19 |  |
|  | SS Imp. Tray Partial, SS - 3 Set | Set | 13 |  |
|  | Rubber Bowl | No | 13 |  |
|  | SS Plaster Spatula, SS made | No | 7 |  |
|  | GI Plastic Spatula, GC- 2 No | No | 8 |  |
|  | SS Bete for reamers & Files- 1 No | Box | 6 |  |
|  | Plastic Bur Box | Box | 6 |  |
|  | Wax Knife, SS made | No | 7 |  |
|  | Plaster Knife, SS made | No | 7 |  |
|  | Adams Pliers, SS made | No | 10 |  |
|  | Wire Cutter For 0.9, 0.8, 0.7, 0.6, 0.5 mm Wire | No | 18 |  |
|  | Wire Cutter for Ligature Wire | No | 9 |  |
|  | Matrix Band, Perforated & Plain, Dentamerica | No | 19 |  |
|  | Glass Sprit Lamp | No | 12 |  |
|  | Micromotor Hand Piece | No | 9 |  |
|  | Turbiue Hand Piece | No | 10 |  |

| Section 2. Tender Data Sheet |
| --- |
| Instructions for completing the Tender Data Sheet are provided, as needed, in the notes in italics and under lined mentioned for the relevant ITT clauses. |
| ITT Clause | Amendments of, and Supplements to, Clauses in the Instruction to Tenderers |
| A. General |
| ITT 1.1 | The Procuring Entity is: The Inspector General of Prisons, Prisons Directorate, 30/3 Umesh Datta Road, Bakshi Bazar, Dhaka-1211. |
|  | The Name of the Tender is. Purchase of Medicines, Medical & Dental Instrument from Local Manufacturer Companies/ Multi-national Companies in Bangladesh/Importers for the financial year 2015-2016. |
| ITT 1.2 | The number, identification and name of lots comprising the Tender are: Single Lot, Package No. Package-A & B, Pacakge-C, Package-D |
| ITT 3.1 | The source of public fund is Government of Bangladesh, (GOB) (Revenue). |
| ITT 3.3 | The name of the Development Partner is-Not Applicable. |
| ITT 5.1 | Tenderers from the following countries are not eligible: Only domestic Tenderers are eligible to participate in the tender. (Local Tender). |
| ITT 6.1 | Goods and Related Services from the following counties are not eligible: [state the name of countries] Not Applicable. |
| B. Tender Document |
| ITT 8.2 | The following are the offices of the Procuring Entity or authorised agents for the purpose of providing the Tender Document: [state name of the offices] or [Agents] if any. None. |
| ITT 9.1 | For clarification of Tender purposes only, the Procuring Entity’s address is: Attention: Prosanta Kumar Bonik Address: Asstt. Inspector General of Prisons (Dev). Prisons Directorate, 30/3 Umesh Datta Road, Bakshi Bazar, Dhaka-1211. Telephone: 7300513. Facsimile number: Electronic mail address: prison_dte@yahoo.com |
| ITT 10.1 | A Pre- Tender meeting shall not be held. Not Applicable. OR The Pre- Tender meeting shall be held at Address: Time & Date: |
| C. Qualification Criteria |
| ITT 13.1 | The maximum [state number] number of arbitration against the Tenderer over a period [state duration] Not Applicable. |
| ITT 14.1(a) | The Tenderer shall have a minimum of 12 (Twelve) years Continue Production of Medicines (Package- A & B) and related Items/services. |
| ITT 14.1(b) | The Tenderer shall have successfully completed Minimum 3 (Three) numbers supply contract of similar goods and related services within last 5 (Five) years counting backward from the date of publication of IFT in the news paper. |
| ITT 14.1(c) | The minimum supply and/or physical production capacity of Goods is/are: The Minimum Production Capacity of Medicines amounting Tk. 20 (Twenty) Crore for Package-A & B per year. |
| ITT 15.1(a) | The satisfactory completion of supply of similar goods Minimum Tk. 3.5 Crore for Package- A & B and Tk 2.5 Crore for Package C & D under maximum 5 (Five) contracts in the last 5 (Five) years. i.e. years counting backward from the date of publication of IFT in the news paper. |
| ITT 15.1(b) | The minimum amount of liquid asset or working capital or credit facility is Tk. 20 Crore for Package-A & B, Tk. 5 Crore for Package-C and & Tk. 3.5 Crore for Package D. |
| D. Preparation of Tender |
| ITT 21.1(q) | The Tenderer shall submit with its Tender the following additional documents: a. Particulars of the tenderer. b. Photocopy of the Registration of Drug Administration Department of respective manufacturer with its photocopies of annexure issued by the concern authority. c. Up-to-date photocopies of gazette notification issued by Drug Administration Department Respecting MRP. d. Photocopy of up-to-date valid Trade Licence. e. Up-to-date payment/disposal certificate regarding payment of income tax (IT). f. Medicines and other items must have minimum 03 years self life from the date of supply. g. Imported items must have minimum two third self life from the date of supply. h. Medicines and other items manufactured with short life must have minimum 80% of self life from the date of supply. i. Up-to-date registration number from chambers of commerce or registered business Administration on their official pad. j. Contract deed with the Importers/Supplier.(if a trader is a bidder) |
| ITT 22.1 | Alternative Tenders will not be permitted. |
| ITT 23.3 | Tenders are being invited for single lot. |
| ITT 23.6 | Price quoted for each lot shall correspond at least to Single lot and correspond at least to 40% of the total lot value. [Note: The figures shall be at least eighty percent (80%) of the total number of items required under that lot in the Schedule of Requirement, and representing at least sixty five percent (65%) of the estimated lot value to establish the winning lot Tender, simulated by incorporating the price of the missing items following procedures as stated under ITT Sub Clause 51.1] |
| ITT 23.8 | The following particular item represents more than fifty percent (50%) of the estimated lot value is: [State the identification and name of the item as stated in section 6,Schedule of requirement], if single particular item does not represent fifty (50) percent of the estimated lot value than [state ‘none’] |
| ITT 23.11 | The prices quoted by the Tenderer shall not be adjustable for duration of the Contract. |
| ITT 25.2(b) | Spare parts are: [state “required” or “not required”] Period of time the Goods are expected to be functioning (for the purpose of spare parts): [State duration ] Not Applicable [Note: Such spare parts as the Procuring Entity may elect to purchase from the supplier ,provided that this election shall not relieve the supplier of any warranty obligations under the contract; Such spare parts that the Procuring Entity may be able to purchase from other supplier/manufacturers but are compatible with the goods procured] |
| ITT 26.1(b) | Manufacturer’s authorization is required. A Manufacturer’s Authorisation Letter is only required for the up to date financial year 2014-2015. |
| ITT 26.1(C) | After sales service is required. |
| ITT 27.2 | The Tender validity period shall be up to 60 to 120 days. |
| ITT 29.2 | In favour of Prisons Department. |
| ITT 29.3 | The amount of the Tender Security shall be Package-A & B TK 12,15,000.00 (Taka Twelve Lac fifteen thousand only), Package-C TK 5,35,000.00 (Taka Five Lac Thirty Five only), Package-D TK 65,000.00 (Taka Sixty Five thousand only), in the form of pay order/Bank draft/Bank Guaranty from any schedule bank in favour of The Inspector General of Prisons, Dhaka. |
| ITT 29.4 | The Tender security at the percentage [state percentage] [Note: Two percent (2%) of the total value of the items or lots offered in one (1) Tender security.] |
| ITT 34.1 | The original Tender document One set shall be submitted. |
| E. Submission of Tender |
| ITT 35.2(c) | The inner and outer envelopes shall bear the following additional identification marks : 1. Name of tender. 2. Purchaser's address. 3. Tenderer's address. |
| ITT 35.7 | Tenderer shall not have the option of submitting their tender electronically. |
| ITT 35.8 | If bidders shall have the option of submitting their bids electronically, the electronic bidding submission procedures shall be: [state a description of the electronic tendering submission procedures] Not Applicable. |
| ITT 36.1 | For Tender submission purposes ,the Procuring Entity’s address is: Attention: Prasanta Kumar Bonik Asstt. Inspector General of Prisons (Dev). Address: Prisons Directorate, 30/3 Umesh Datta Road, Bakshi Bazar, Dhaka-1211. The deadline for submission of Tenders is on 1 March 2015 at 9:00am to 12:00 Noon. |
| ITT 36.3 | For Tender submission purposes ,the Procuring Entity’s address is: Prisons Directorate, 30/3 Umesh Datta Road, Bakshi Bazar, Dhaka-1211. 1. For Primary place the deadline for submission of Tenders is : Prisons Directorate, 30/3 Umesh Datta Road, Bakshi Bazar, Dhaka-1211 on 1 March 2015 at 9:00am to 12:00 Noon. 2. For Secondary places the deadline for submission of Tenders is: Chawk Bazar Model P.S on 1 March 2015 at 9:00am to 12:00 Noon. 3. For Third places the deadline for submission of Tenders is: Divisional Commissioner's Office, Dhaka. on 1 March 2015 at 9:00am to 12:00 Noon. |
| ITT 36.4 | The deadline for the hand-delivering of the Tenders at the Primary Place is: Same Date & Time are Applicable. |
| F. Opening and Evaluation of Tenders |
| ITT 42.2 | Prisons Directorate, 30/3 Umesh Datta Road, Bakshi Bazar, Dhaka-1211 under the chairmanship of Additional Inspector General of Prisons on 1 March 2015 at 12.30 P.M. |
| ITT 42.3 | If electronic tender submission is permitted as stated under ITT sub-clause 34.8, the specific tender opening procedures shall be: [state description of the procedures] Not Applicable |
| ITT 50.5 | The qualification methods shall be applied as per PPR 2008 |
| G. Award of Contract |
| ITT 58.1 | The maximum percentage by which quantities per item may be increased is: maximum 15% of all items.. The maximum percentage by which quantities per item may be decreased is : maximum 20% of all items. |
| ITT 60.2 | The amount of Performance Security shall be ten 10% of the Contract Price. |
| ITT 67.5 | Prasanta Kumar Bonik, Assistant Inspector General of Prisons, Prisons Directorate, 30/3 Umesh Datta Road, Bakshi Bazar, Dhaka-1211. |

Section 4.	Particular Conditions of Contract

| GCC 1.1(o) | The site(s)/ point(s) of delivery is/are: The successful Tenderer will supply the Medicines (Package- A & B) to all Central and District Jail and Medical & Dental Instruments (Package- C & D) to Prisons Directorate Central Depot. by their won cost as per work order. |
| --- | --- |

Ò`ic‡Îi kZ©vejxÓ

|  | mKj wPwV c‡Îi Av`vb-cÖ`vb ÒKviv gnvcwi`k©K, evsjv‡`k, XvKvÓ Gi eive‡i Ki‡Z n‡e¦ |
| --- | --- |
|  | `ic‡Î Ask MÖnYKvix ‡Kv¤úvbx/cÖwZôvb‡K wbgœewY©Z KvMRcÎvw` cÖ_g †kªYx †M‡R‡UW Kg©KZv© KZ©„K mZ¨vwqZ Qvqvwjwc `ic‡Îi mv‡_ Aek¨B `vwLj Ki‡Z n‡e Ges `ic‡Îi mv‡_ mshy³ KvMRcÎvw` µgvbymv‡i (Serialy) cZvKv/cwiwkó (Annexure) wnmv‡e wPwýZ Ki‡Z n‡e t K¦ nvj bvMv` ‡UªW jvB‡m‡Ýi Kwc; L¦ nvj bvMv` AvqKi mb‡`i Kwc; M¦ f¨vU ‡iwR‡óªkb mb‡`i Kwc; N¦ e¨vsK ¯^”QjZv mb‡`i Kwc; O¦ `icÎ wmwWDj µ‡qi g~j iwk`; X¦ miKvi Aby‡gvw`Z ms¯’vq 5 eQ‡i 3.5 †KvwU UvKvi Jla I wPwKrmv-mvgMÖx (Package-A & B), Ges 2.5 †KvwU UvKvi †gwWK¨vj mvgMÖx (Package-C) I †W›Uvj mvgMÖx (Package-D) mieiv‡ni cÖgvYcÎ Ges GK Av‡`‡k 1(GK) †KvwU UvKvi Jla I wPwKrmv-mvgMÖx, †gwWK¨vj I †W›Uvj mvgMÖx mieiv‡ni Kvh©v‡`‡ki Kwc¦ Q¦ Avg`vbx KviK/mieivnKvixi mv‡_ m¤cvw`Z Pzw³cÎ (hw` `i`vZv e¨emvqx nq) R¦ `icÎ Rvgvb‡Zi (Tender Security) e¨vsK WªvdU/†c-AW©vi/e¨vsK M¨vivw›U Gi g~j Kwc; S¦ Jla cÖ¯‘ZKvix cÖwZôv‡bi nvjbvMv` Jla Drcv`b jvB‡m‡Ýi Kwc; T¦ Avg`vbxKviK cÖwZôv‡bi WªvM jvB‡m‡Ýi Kwc (†¶Î we‡kl cÖ‡hvR¨); U¦ nvjbvMv` c‡`i (Jla) G‡b·v‡ii Kwc¦ c‡`i G‡b·v‡ii Kwc‡Z cÖ¯—vweZ AvB‡Ug †KvW b¤^i D‡j­Lc~e©K µgvbymv‡i (Serialy) mshy³ Ki‡Z n‡e Ges ZvwjKvq gvwK©s K‡i w`‡Z n‡e; V¦ B‡Ûw›Us jvB‡m‡Ýi Kwc (†¶Î we‡kl cÖ‡hvR¨); W¦ we‡`kx ev Avg`vbxK…Z Jl‡ai †¶‡Î G‡R›U, cÖwZôvb/†Kv¤úvbxi †mvj G‡RÝx mvwU©wd‡KU/mvwU©wd‡KU Ae A_ivB‡Rkb Gi Kwc; X¦ Jla cÖkvmb Awa`ßi KZ©„K Aby‡gvw`Z I gyw`ªZ me©‡kl m‡ev”P© LyPiv g~j¨ ZvwjKv (MRP) Aek¨B `vwLj Ki‡Z n‡e¦ MRP ZvwjKvq cÖ¯—vweZ `‡ii AvB‡Ug †KvW b¤^i wjL‡Z n‡e Ges ZvwjKvq gvwK©s K‡i w`‡Z n‡e; Y¦ we‡`kx Jl‡ai †¶‡Î Avg`vbxKvi‡Ki mwnZ m¤úvw`Z Pzw³c‡Îi Kwc; Z¦ mswk­ó `i`vZv Drcv`bKvix n‡j D³ Drcv`bKvix cÖwZôvb‡K GKvav‡i Kgc‡¶ 12 (evi) eQi Drcv`‡b _vKvi ¯^c‡¶ cÖgvYc‡Îi Kwc; _¦ we‡`‡k ißvbxi AwfÁZvi mb`cÎ; |
|  | mieivnK…Z Jla, †gwWK¨vj I †W›Uvj mvgMÖxi mKj KvU©yb/e¨vM/c¨v‡KU/†ivj/†evZj/‡m‡PU/G¨v¤úyj/ fvqvj/wóªc/Kfvi/d‡qjm Gi Mv‡q A‡gvQbxq jvj/Kv‡jv Kvwji mvnv‡h¨ ÒKvivMv‡ii m¤úwË, weµ‡qi Rb¨ b‡nÓ wcÖ›U Ki‡Z n‡e¦ |
|  | `icÎ `vZv‡`i‡K Kviv Awa`ßi KZ…©K mieivnK…Z wmwWD‡j ewY©Z Jla, †gwWK¨vj I †W›Uvj mvgMÖxi `i, `i`vZvi wbR¯^ c¨v‡W wb†æv³ QK I kZ© ‡gvZv‡eK Kw¤úDUv‡i UvBc K‡i nvW© Kwc mshy³ KiZt wmwWmn mdU Kwc `ic‡Îi mv‡_ `vwLj Ki‡Z n‡e t AvB‡Ug †KvW bs Jl‡ai †RwbwiK bvg I †¯úwmwd‡Kkb kw³i GKK ‡UªW bvg cÖ¯‘ZKvix †Kv¤úvbx/ †`‡ki bvg c¨K mvBR GKK g~j¨ As‡K K_vq 1 2 3 4 5 6 7 8 K¦ ‡Kvb Ae¯’v‡ZB `i`vZv KZ©„K mieivnK…Z wmwWD‡j †`qv kw³i GKK cwieZ©b MÖnY‡hvM¨ bq; L¦ `icÎ `vZv‡`i‡K wmwWD‡j †`qv kw³i GKK †hgb msL¨v, gvc, c¨v‡KU, wgtMÖvt, wgtwjt, WRb BZ¨vw` D‡j­Lc~e©K `i `vwLj Ki‡Z n‡e; M¦ Package-A & B, Package -C, Package-D c„_K c„_K fv‡e QK Abyhvqx cyiY Ki‡Z n‡e; N¦ Kviv Awa`ßi KZ©„K mieivnK…Z wmwWD‡ji AvB‡Ug †KvW Abymv‡i `i`vZv †h †h AvB‡Ug †Kv‡Wi Rb¨ `icÎ `vwLj Ki‡Z Pvb, ïay gvÎ †m ¸‡jvB c~iY Ki‡eb; O¦ Kviv Awa`ßi KZ©„K mieivnK…Z wmwWD‡ji †Kvb AvB‡Ug †KvW cwieZ©b Kiv hv‡e bv¦ |
|  | †Kv¤úvbx/cÖwZôv‡bi c‡¶ †Kvb Kg©KZ©v/Kg©Pvix `ic‡Î ¯^v¶i Ki‡j Zvi ¯^v¶i Kivi ¶gZvcÎ (Letter of Authorization) `ic‡Îi mv‡_ `vwLj Ki‡Z n‡e¦ ¶gZvcÎ Aek¨B `i`vZv ‡Kv¤úvbx/cÖwZôvb cÖavb KZ…©K ¯^v¶wiZ n‡Z n‡e¦ |
|  | Jla, †gwWK¨vj I †W›Uvj mvgMÖxi `i As‡K I K_vq D‡j­L Ki‡Z n‡e¦ KvUvKvwU ev NlvgvRv †Kvb `i cÖ¯—ve MÖnY‡hvM¨ bq¦ |
|  | `ic‡Îi cÖwZ c„ôvq wbw`©ó RvqMvq `i `vZvi ¯^v¶i I mxj _vK‡Z n‡e¦ |
|  | Package-A & B `i `vZvi †¶‡Î µwgK bs-2 †_‡K 7 ch©š— Ges Package -C, Package-D `i `vZvi †¶‡Î 2.(K-R) n‡Z 7 kZ©mg~n c~i‡Y e¨_© `i`vZvi `icÎ MÖnY Kiv n‡e bv¦ |
|  | `icÎ RvgvbZ (Tender Security) t `icÎ RvgvbZ (†diZhvM¨) eve` UvKv= 12,15,000/- (Package-A & B), UvKv= 5,35,000/- (Pacakge-C), UvKv= 65,000/- (Package-D) wmwWDjfy³ e¨vs‡K Rgv KiZt †c-AW©vi/e¨vsK WªvdU/e¨vsK M¨vivw›U Gi g~jKwc Aek¨B `ic‡Îi mv‡_ `vwLj Ki‡Z n‡e¦ wba©vwiZ `icÎ RvgvbZ m¤^wjZ †c-AW©vi/e¨vsK WªvdU/e¨vsK M¨vivw›U e¨ZxZ †Kvb `icÎ we‡ePbv Kiv n‡e bv¦ KZ©„c¶ KZ©„K `icÎ MÖnY P~ovš—fv‡e wb¯úwË bv nIqv ch©š— `icÎ Rvgvb‡Zi UvKv †diZ‡hvM¨ bq¦ |
|  | Kvh© m¤úv`b RvgvbZ (Performance Security) t Kviv gnvcwi`k©K KZ…©K `icÎ Aby‡gv`bv‡š— K…ZKvh© `i`vZv‡`i‡K Notification Award Rvwii 07 (mvZ) w`‡bi g‡a¨ Kviv KZ…©c‡¶i mv‡_ 300/Ñ(wZbkZ) UvKvi bbRywWwkqvj ó¨v‡¤ú Pzw³cÎ (Db¥y³ `ic‡Îi †¶‡Î dig wcwR3-8) m¤úv`b Ki‡Z n‡e¦ Pyw³ m¤úv`‡bi mgq Kvh©v‡`‡ki †gvU g~‡j¨i Dci 10% nv‡i Kvh©Kix wbivcËv Rvgvb‡Zi UvKv wmwWDjf~³ e¨vs‡K Rgv KiZt †c-AW©vi/e¨vsK WªvdU/e¨vsK M¨vivw›U Gi g~jKwc Aek¨B `vwLj Ki‡Z n‡e¦ `icÎ Aby‡gv`‡bi ci Pzw³cÎ m¤úv`b I Kvh©v‡`k cÖ`vb m¤úbœ nIqvi ci `icÎ Rvgvb‡Zi (Tender Security) UvKv Aegy³ Kiv n‡e¦ GKB mg‡qi `icÎ Rvgvb‡Zi UvKv Av‡e`‡bi wfwË‡Z Kvh©Kix wbivcËv Rvgvb‡Z iƒcvš—i Kiv hv‡e¦ Kvh©Kix wbivcËv RvgvbZmn Pzw³ m¤úv`‡b e¨_© `icÎ `vZv‡K Kvh©v‡`k cÖ`vb Kiv n‡e bv Ges †Kvb KviY `k©v‡bv QvovB `icÎ Rvgvb‡Zi c~Y© A_© ev‡Rqvß Kiv n‡e¦ Kvh© m¤úv`b RvgvbZ `icÎ †gqv`Kvj †kl bv nIqv ch©š— Aegy³ Kiv hv‡e bv¦ |
|  | `ic‡Îi mv‡_ `vwLjK…Z †c-AW©vi/e¨vsK WªvdU/e¨vsK M¨vivw›U hw` Rvj/f~qv cÖgvwbZ nq Zvn‡j Awfhy³ `icÎ `vZvi wei“‡× Zvr¶wYKfv‡e †dŠR`vix gvgjv i“Ry Kiv n‡e Ges Zvi ZvwjKvf~w³ jvB‡mÝ evwZj K‡i Kv‡jv ZvwjKvf~w³i e¨e¯’v MÖnY Kiv n‡e¦ |
|  | bb wmwWDj e¨vsK †_‡K cÖ`Ë †Kvb †c-AW©vi/e¨vsK WªvdU/e¨vsK M¨vivw›U MÖnY‡hvM¨ n‡e bv¦ |
|  | m‡š—vlRbKfv‡e mieivn mv‡c‡¶ `icÎ †gqv`Kvj †kl nIqvi 6 gvm ci Kvh©Kix wbivcËv Rvgvb‡Zi A_© Aegy³ Kiv n‡e¦ G mgq 01(GK) eQi ch©š— ewa©Z Kiv n‡Z cv‡i¦ |
|  | mieivnKvix †Kv¤úvbx/cÖwZôvb‡K Kvhv©‡`k Abyhvqx mKj Jla (Package-A & B) †`‡ki mKj ‡K›`ªxq I †Rjv KvivMv‡i Ges †gwWK¨vj I †W›Uvj mvgMÖx (Package-C, Package-D) Kviv Awa`ß‡ii †m›Uªvj wW‡cv‡Z wbR `vwq‡Z¡ I Li‡P †cuŠ‡Q w`‡Z n‡e¦ Jla, †gwWK¨vj I †W›Uvj mvgMÖx AvswkK mieivn MÖnY‡hvM¨ bq¦ |
|  | Jla, †gwWK¨vj I †W›Uvj mvgMÖx mieiv‡ni mKj Pvjvb I we‡ji Kwc Kviv gnvcwi`k©K, evsjv‡`k eive‡i `vwLj Ki‡Z n‡e Ges †h mKj †K›`ªxq KvivMv‡i Jla, †gwWK¨vj I †W›Uvj mvgMÖx mieivn Kiv n‡q‡Q †m †K›`ªxq/‡Rjv Kviv KZ…©c‡¶i wbKU n‡Z mieivn MÖn‡Yi ¯^c‡¶ Jla, †gwWK¨vj I †W›Uvj mvgMÖx MÖnY KwgwUi cÖwZ‡e`b/cÖZ¨qbcÎ we‡ji mv‡_ Aek¨B `vwLj Ki‡Z n‡e¦ †Kvb Ae¯’vq Jla, †gwWK¨vj I †W›Uvj mvgMÖx MÖnY KwgwUi cÖwZ‡e`b e¨ZxZ wej cwi‡kva Kiv n‡e bv¦ mieivnK…Z Jla, †gwWK¨vj I †W›Uvj mvgMÖxi wej †`kxq gy`ªvq Kviv gnv-cwi`k©K, Kviv Awa`ßi, XvKv n‡Z 2015-16 A_© eQ‡ii ev‡RU n‡Z cwi‡kva Kiv n‡e¦ |
|  | mieivnK…Z Jla, †gwWK¨vj I †W›Uvj mvgMÖxi wej n‡Z wewa †gvZv‡eK AvqKi I f¨vU KZ©b Kiv n‡e¦ |
|  | mieivnK…Z mKj Jla, †gwWK¨vj I †W›Uvj mvgMÖx †hgb wóªc/†evZj/c¨v‡KU/‡m‡PU/G¨v¤úyj/fvqvj/e¨vM BZ¨vw`i Mv‡q Jla ˆZixi mb I †gqv` DËx©‡Yi ZvwiL Qvcv‡bv _vK‡Z n‡e¦ D‡j­L¨ †h, mieivn †`qvi mgq †`kx Jl‡ai †¶‡Î b~¨bZg 02 eQi ev G¨vKPzqvj †mjd jvBd UvBg ev c~Y© †gqv‡`i 80% Ges we‡`kx ev Avg`vbxK…Z Jl‡ai †¶‡Î b~¨bZg 02 (`yB) ermi ev c~Y© †gqv‡`i 80% †gqv` _vK‡Z n‡e¦ |
|  | †h mKj Jla, †gwWK¨vj I †W›Uvj mvgMÖxi bgybv/K¨vUvjM `vwLj Kiv nBqv‡Q, †m mKj AvB‡U‡gi bgybv/K¨vUvjM hvPvB c~e©K M„nxZ bgybv/K¨vUvjM †gvZv‡eK `i g~j¨vqb Kiv n‡e¦ cÖ‡qvR‡b we‡klÁ wPwKrmK/mvR©b Ges e¨enviKvix Øviv bgybv/K¨vUvjM hvPvB Kiv n‡e¦ |
|  | Kvh©v‡`‡k D‡j­wLZ mgqmxgvi g‡a¨ mgy`q Jla, †gwWK¨vj I †W›Uvj mvgMÖx mieivn wbwðZ Ki‡Z n‡e¦ Ab¨_vq Kviv Awa`ßi KZ©…K Kvh© m¤úv`b Rvgvb‡Zi A_© ev‡Rqvßmn Kvh©v‡`k evwZj Ges Kv‡jv ZvwjKvf~³ Kiv n‡e¦ |
|  | Kviv Awa`ßi †h †Kvb mgq mieivn Av‡`‡ki cwigvb n«vm/e„w× Ki‡Z cvi‡e¦ |
|  | G `ic‡Îi †gqv` 01-07-2015 n‡Z 30-06-2016 wLªt ch©š— Kvh©Ki _vK‡e¦ |
|  | Kvh©v‡`k †Kvb Ae¯’v‡ZB mgc©Y Kiv hv‡e bv¦ mieivnKvixi wbqš¿Y ewnf©~Z †Kvb Kvi‡Y hw` mieivn †`Iqv Am¤¢e nq, †m †¶‡Î AÎ Awa`ßi‡K Proper Valid Document mn †gqv` †k‡li Av‡MB AewnZ Ki‡Z n‡e Ges †mUv Awa`ßi KZ©„K MÖnY‡hvM¨ g‡b n‡j welqwU we‡ewPZ n‡e¦ |
|  | `vwLjK…Z bgybv/K¨vUvj‡Mi mv‡_ mieivnK…Z Jla, †gwWK¨vj I †W›Uvj mvgMÖxi cy‡ivcywi wgj _vK‡Z n‡e¦ |
|  | `ic‡Î D×„Z Package-A & B Gi Jl†ai bgybv 1 w÷ªc K‡i (A‡diZ‡hvM¨) Ges Package -C, Package-D Gi †gwWK¨vj I †W›Uvj Bb÷ªy‡g›U Gi bgybv (‡diZ‡hvM¨) `icÎ `vwL‡ji w`b `ic‡Îi Specification Abyhvqx Kviv Awa`ß‡i Rgv w`‡Z n‡e¦ Package -C, Package-D Gi †gwWK¨vj I †W›Uvj Bb÷ªy‡g›U Gi `vwLjK…Z bgybv 1 (GK) ermi ci †diZ cÖ`vb Kiv n‡e¦ †Kvb cÖwZôvb/mieivnKvix/cÖ¯‘ZKvix cÖwZôvb `icÎ †Lvjvi w`b bgybv w`‡Z e¨_© n‡j Zvi `icÎ MÖnY Kiv n‡e bv¦ D‡j­L¨ †h, †gwWK¨vj hš¿cvwZi (BwmwR †gwkb, †beyjvBRvi †gwkb, A‡Uv‡K¬f †gwkb, ûBj †Pqvi, †÷Pvi, Uªwj) †¶‡Î bgybvi cwie‡Z© K¨vUvjM `vwLj Ki‡Z n‡e¦ |
|  | hLb we¯—vwiZ cÖ‡qvRb n‡e ZLb mieivnKvix/cÖ¯‘ZKvix cÖwZôvb‡K mieivnK…Z Jla, †gwWK¨vj I †W›Uvj mvgMÖxi h_v_©Zv (Authenticity) hvPvB‡qi Rb¨ g~j c¨v‡KU Kviv Awa`ß‡i `vwLj Ki‡Z n‡e¦ |
|  | wbgœgv‡bi Jla, †gwWK¨vj I †W›Uvj mvgMÖx ‡Kvb Ae¯’v‡ZB MÖnY Kiv n‡e bv¦ hw` mieivnK…Z Jla, †gwWK¨vj I †W›Uvj mvgMÖx wbgœgv‡bi cÖZxqgvb nq Zvn‡j mieivnKvix/cÖ¯‘ZKvix †Kv¤úvbx/cÖwZôvb †m¸‡jv cwieZ©b K‡i Zvr¶wbK gvb m¤úbœ Jla, †gwWK¨vj I †W›Uvj mvgMÖx mieivn wbwðZ Ki‡e¦ Kviv Awa`ßi KZ©„K †eu‡a †`qv wbw`©ó mg‡qi g‡a¨ mieiv‡n I cwieZ©‡b e¨_© n‡j D³ mieivnKvixi wei“‡× RvgvbZ ev‡Rqvßmn AvBbvbyM e¨e¯’v MÖnY Kiv n‡e¦ |
|  | mieivnKvix/cÖ¯‘ZKvix †Kv¤úvbx/cÖwZôvb‡K j¨ve‡iUix cix¶vi Rb¨ Jla I wPwKrmv-mvgMÖxi bgybv A_ev bgybv e¨vP cÖ‡qvRb Abyhvqx mieivn Ki‡Z n‡e¦ G Rb¨ Avcbv‡`i AbyKz‡j M„nxZ Item mg~‡ni g‡a¨ cix¶vi Rb¨ U¨ve‡jU 50 (cÂvk) wU, Bb‡RKkb 05 (cvuP) wU, wmivc 05 (cvuP) dvBj I K¨vcmyj 30 (wÎk) wU bgybv (A‡diZ‡hvM¨) Kvh©v‡`k cÖvwßi 07 (mvZ) w`‡bi g‡a¨ Kviv Awa`ß‡i mieivn Ki‡Z n‡e¦ bgybv cix¶Y djvdj m‡š—vlRbK cÖgvwbZ n‡j mieivn (Consignment) MÖnY Kiv n‡e¦ j¨ve‡iUix‡Z bgybv cix¶Y eve` e¨q/g~j¨ mieivnKvix †Kv¤úvbx/cÖwZôvb‡K cwi‡kva Ki‡Z n‡e¦ Jl‡ai ¸YMZ gvb mwVK bv n‡j mswk­ó ‡Kv¤úvbx/cÖwZôv‡bi wei“‡× AvBbvbyM e¨e¯’v MÖnY Kiv n‡e¦ |
|  | mieivnKvixi Kvh©Kjvc m‡š—vlRbK bv n‡j ev mieivn Pzw³i †h †Kvb kZ© c~i‡Y e¨_© n‡j ev †h †Kvb Pzw³ f‡½i Kvi‡Y Kviv Awa`ßi ¶wZMÖ¯— n‡j mieivnKvixi RvgvbZ ev‡Rqvß KiZt kvw¯—g~jK e¨e¯’v MÖnY Kiv n‡e¦ |
|  | mieivnKvix cÖwZôvb ïaygvÎ we‡`kx ˆZix Jla, †gwWK¨vj I †W›Uvj mvgMÖxi `i cÖ¯—ve Ki‡Z cvi‡eb¦ we‡`kx Jla, †gwWK¨vj I †W›Uvj mvgMÖxi ‡¶‡Î cÖ¯‘ZKvix †Kv¤úvbx I †`‡ki bvg D‡j­L Ki‡Z n‡e¦ we‡`kx Jla mieivnKvixi †¶‡Î †h mKj Jla, †gwWK¨vj I †W›Uvj mvgMÖxi Rb¨ `icÎ cÖ`vb Kiv n‡e †mB Jla I wPwKrmv-mvgMÖx Avg`vbxKvi‡Ki mv‡_ mieivn msµvš— Pzw³cÎ `vwLj Ki‡Z n‡e¦ |
|  | `icÎ `vZv cvewjK cÖwKDi‡g›U AvBb, 2006 I cvewjK cÖwKDi‡g›U wewagvjv, 2008 Gi wewa weavb gvb‡Z eva¨ _vK‡eb¦ |
|  | ‡Kvb KviY `k©v‡bv e¨wZZ mKj `icÎ evwZj/MÖn‡Yi ¶gZv KZ©„c¶ msi¶Y K‡ib¦ |

Section-7: Technical Specification

| Sl # | Description |
| --- | --- |
|  | Stethoscope Brand : To be mentioned Model: To be mentioned. Country of Origin: To be mentioned. Performance (1-10+ Scale)7 Chest piece : Machined Stainless Two- sided Binaurals : Single Lumen Tunable Diaphragm: Yes Headset Material: Aerospace Alloy Length : 28in/71 cm Y-tube material synthetic rubber Diaphragm Diameter: 1.75in/4.4cm Bell Diameter: 1.15in/3.2cm Type Acoustic double head stethoscope Retaining ring "Y" Tubing non-chill ring Chest piece: 45 mm for Adult. Warranty: 3 (three) years. Quality standard: CE/FDA/ JIS certificate of the offered items must be submitted with offer. |
|  | B. P. Machine (arenoid) Brand: To be mentioned Model: Te be mentioned Country of origin : To be mention Cuff size : adult Warranty: 3 (three years. Product Quality standard: Valid European CE/ USA FDA/ JIS Certificate must be submitted with the offer. |
|  | Thermometer (Mercury) Brand : To be mentioned Model: To be mentioned. Country of Origin : To be mentioned |
|  | Stretcher Brand : To be mentioned Model: To be mentioned. Country of Origin : To be mentioned Two solid iron with nylon type bed Size: 210x90 cm Loading capacity: 130kg min Weight: min 6kgs. |
|  | Patient Trolley Brand : To be mentioned Model: To be mentioned. Country of Origin : To be mentioned Detachable stretcher with fixed legs. Poly foam mattress covered with vinyl leather. Stretcher carrying trolley with collapsible railings and moveable on 200mm castors, two are with brakes Stretcher frame made of stainless tubes and top made of stainless Steel/anodized aluminum. Trolley made of mild steel tubes. Chemically derusted, Zinc phosphate coated and epoxy powder paint finish. Size (L×W×H): 1950-2050×550-575×775-825 mm Optional O2 Cylinder Case € Utility Shelf Quality standard: ISO/CE valid certificate must be submitted. |
| Sl # | Description |
|  | Wheel Chair Brand : To be mentioned Model: To be mentioned. Country of Origin : To be mentioned Type: Economy folding type Arms & Foot rest: Fixed Rear wheel: Solid. |
|  | Weight Machine (Analogue) Brand : To be mentioned Model: To be mentioned. Country of Origin : To be mentioned Capacity: Min. 120 Kgs Dial: Min 160 mm Sensitivity: 250gm Weight: min.2.5 Kg Dimension: 430x380x70mm max, Warranty: 3 years Quality standard: Valid European CE or USA FDA or JIS Certificate must be submitted with the offer. |
|  | Needle holder (Small & Medium) Size: 6" & 7" Brand : To be mentioned Model: To be mentioned. Country of Origin : To be mentioned Warranty period will be minimum 1 (0ne) year or as offered by the manufacture which comes later. Quality standard: CE/FDA/ JIS certificate of the offered items must be submitted with the offer. |
|  | BP Handle B.P. Handle Nickel Alloy No. 3,4,5 Warranty period will be minimum 1 (0ne) year or as offered by the manufacture which comes later Quality standard: CE/FDA/ JIS certificate of the offered items must be submitted with offer. |
|  | Tooth Dissecting Forceps Brand : To be mentioned Model: To be mentioned. Country of Origin : To be mentioned Size: 6" Type: Stainless steel Warranty period will be minimum 1 (0ne) year or as offered by the manufacture which comes later. Quality standard: CE/FDA/ JIS certificate of the offered items must be submitted with the offer. |
|  | Plai n Forceps Brand: To be mentioned Model: Te be mentioned Country of origin : To be mentioned S.S Made, Plain Artery Forceps Size 7" Warranty period will be minimum 1 (0ne) year or as offered by the manufacture which comes later. CE/FDA/ JIS certificate of the offered items must be submitted with the offer. |
| Sl # | Description |
|  | Artery Forceps (plain) Brand: To be mentioned Model: Te be mentioned Country of origin : To be mentioned S.S Made, Artery Forceps, plain (Small), Size 6", Medium Size- 7 ". Warranty period will be minimum 1 (0ne) year or as offered by the manufacture which comes later. CE/FDA/ JIS certificate of the offered items must be submitted with the offer. |
|  | Artery Forceps (Small, Medium Size) Brand: To be mentioned Model: Te be mentioned Country of origin : To be mentioned S.S Made, Artery Forceps, Straight (Small), Size 6", Medium Size 7". Warranty period will be minimum 1 (0ne) year or as offered by the manufacture which comes later. CE/FDA/ JIS certificate of the offered items must be submitted with the offer. |
|  | Stitch Cutting Scissors LITTAUER Stitch cutting scissors, Size: 14 cm Warranty period will be minimum 1 (0ne) year or as offered by the manufacture which comes later. CE/FDA/ JIS certificate of the offered items must be submitted with the offer. |
|  | Scissors (Small, Medium Size) Brand: To be mentioned Model: Te be mentioned Country of origin : To be mentioned S.S. Made, Metzenbaum Scissors (Straight), Small Size 6", Medium Size 7" & Large, Size, 8" Warranty period will be minimum 1 (0ne) year or as offered by the manufacture which comes later. CE/FDA/ JIS certificate of the offered items must be submitted with the offer. |
|  | Bandage/Gauge cutting Scissors Brand : To be mentioned Model: To be mentioned. Country of Origin : To be mentioned Size: Minimum- 10" Type: Stainless still. |
|  | Kidney Tray (Small, Medium, Large Size) Brand : To be mentioned Model: To be mentioned. Country of Origin : To be mentioned Tray, Instrument withy cover 250 +200+50 mm S.S. Made, non magnet, tray instrument with cover Size 250+200+50mm Warranty period will be minimum 1 (one) year or as offered by the manufacturer which comes later. Quality standard: CE/FDA/ JIS certificate of the offered items must be submitted with the offer. Type: Stainless steel kidney shape plate |
|  | Lifter with Jar Brand : To be mentioned Model: To be mentioned. Country of Origin : To be mentioned Size : 6" Type : Stainless steel |
| Sl # | Description |
|  | Surgical Dram (Small, Medium Size) Cylindrical container for sterilizing dressing (compresses, cotton, etc) Stainless steel (20 SWG) cylinder with attached lid and lateral eclipses. Warranty period will be minimum 1 (0ne) year or as offered by the manufacture which comes later Quality standard: CE/FDA/ JIS certificate of the offered items must be submitted with offer. Country of Origin : To be mentioned |
|  | 6 channel ECG. Machine Brand : To be mentioned Model: To be mentioned. Country of Origin : To be mentioned Feature : ■ Six channel ECG machine with auto analysis and Arrhymia (interpretation) mode ■ Twelve leads simultaneous display with minimum 5 inch or more LCD display screen ■ Manual /Auto/Arrhymia Analysis working modes ■ Real time ECG wave form with 16 patient or more memory storage and reply ■ Protection circuit should be available against defibrillator effect ■ Built in rechargeable battery with operating time of at least 1 (one) hour. ■ USB Interface connector ■ Built in thermal printer should be available Frequency response 0.05 – 150 Hz Sensitivity 5,10,20mm/Mv Specification : Lead quantity : 12 lead standard Working mode : Manual, Auto, Analysis Filter : AC filter, EMG filter & Anti-drift filter Input impedance : ≥ 50MΏ Printing method : By built in thermal printer Paper size : 100mm roll z fold Paper speed : 25-50mm/sec Power supply: 220-240VAC, 50Hz. Accessories : ECG cable -------- 2 sets each Limb Electrode --- 2 sets each ( set of 4 pcs) Chest electrode---- 2 sets each (set of 6 pcs) Power cable --------1 set Grounding cable ---1 set Adapter ------------- 2 pc Fuse ------------------4 pcs Paper axis ---------- 2 pcs Printing paper ----- 24 roll Warranty period:- Warranty 3 (three) year full including, repair maintenance and servicing free of cost from the date of installation for 5 years. Quality standard: Valid European CE/FDA/ JIS certificate of the offered items must be submitted with the offer. |
|  | Nebulizer Machine Brand : To be mentioned Model: To be mentioned. Country of Origin : To be mentioned Atomized particle diameter: approx. l micron Timer: up to 30 minutes, adjustable and continuous operation up to 1 hours Nebulization capacity: up to 4ml/minute or above Liquid cup capacity: approx 50 ml Standard should be supplied: Hose, Nebulizer mask, liquid cup, mouth piece, bacteria filter, dust filter Additional accessories will be supplied: Transact face mask for adults-10 pcs, Transact face mask for infants/ children-10 pcs, Dust Filter-10 pcs, Bacteria filter-10 pcs, Power: 220VCA, 50Hz Warranty: The equipments should bear 03 years warranty including spars parts & maintenance service availability of spare parts. Quality standard: CE/FDA/ JIS certificate of the offered items must be submitted with the offer. |
|  | Autoclave (Electric) Standard Size Features: Floor standing on castor top/bench top front loading electric heating Suitable for Wrapped/unwrapped/liquid Same automatic control Specification: Voltage AC 180V-260V, 50Hz Main Construction SS 304 Control Manual mechanical control Sterilizing Time up to 60min DRY Time up to 60min Designed Temperature 140ºC Sterilizing Temperature 121~134ºC Designed Pressure 4 kg/cm² Sterilizing Pressure 1.2~2.1 kg/cm² Chamber Capacity Minimum 20 Liters Dry Manual Add Water Manual Safety Device Thermal cut-off, safety valve, emergency exhaust valve, door interlock, pressure control switch Standard Accessories: Standard Accessories including following Sterilizing tray -1pc Water level glass tube -1pc Heating element -2pcs Silicone door seal - 1pc each Operation & service manual -1 set Spare past list with price in USD dollar must be submitted separately. Requirements at installation: 1. Necessary Pipeline works should be provided by the bidder 2. Cable for connecting to wall socket should also be provided Warranty period:- 03(three) years full including spare parts, repairing and servicing free of cost for all items from the date of installation. Quality standard: CE/FDA/JIS certified, Certificate to be submitted of the offered model with the offer. |

All other terms and conditions of the tender documents will remain unchanged.

Sd/-

|  | (A,K,M, Fazlul Haque) Deputy Inspector General (HQ) Prisons Directorate, Dhaka Phone-7300400 |
| --- | --- |

Memo. No. 44.07.0000.030.03.001.15-							date:    -02-2015

Copy forwarded for information & necessary action to the:-

- Senior Secretary, Ministry of Home Affairs, Bangladesh Secretariat, Dhaka (Senior Assistant Chief, Planning Branch-2).  He is requested to publish the corrigendum in Ministry of Home Affairs website.

- Director General, CPTU, IMED, Ministry of Planning, Sher-e-Bangla Nagar, Dhaka. He is requested to publish the corrigendum in CPTU website.

- Director, Prisons Training Institute, Prisons Directorate, Dhaka. He is requested to publish the corrigendum in Prisons Directorate website.

- All Prospective Bidder:

  - Opsonin Pharma, 30 New Eskaton Road, Dhaka-1000.

  - SKF Bangladesh Limited, 158 Kemel Ataturk Avenue, Block-E, Banani, Dhaka-1213.

  - General Pharmaceuticals Limited, House No. 48A, Road No. 11A, Dhanmondi, Dhaka.

  - Beximco Pharmaceuticals Limited, 19 Dhanmondi R/A, Road No. 7, Dhaka.

  - The Acme Laboratories Limited, ¼ Kallyan Pur, Mirpur Road, Dhaka-1207.

  - Incepta Pharmaceuticals Limited, 40 Shahid Tajuddin Ahmed, Tejgoan I/A, Dhaka-1208.

  - Globe Pharmaceuticals Limited, Plot No. 3/ka (new), Tejgoan I/A, Dhaka-1208.

  - ACI Pharmaceuticals, Novo Tower, 270 Tejgoan I/A, Dhaka-1208.

  - Navana Pharmaceuticals Limited, Islam Chamber, 125/A, Motijheel C/A, Dhaka-1000.

  - Sanofi Bangladesh Limited, 6/2/A Segun Bagicha, Dhaka-1000.

  - Ziska Pharmaceuticals Limited, Nurul Tower, 34 Purana Paltan Lane, Dhaka-1000.

  - The Ibn Sina Pharmaceuticals Industry Limited, House No. 41, Road No. 10/A, Dhanmondi, Dhaka-1209.

  - M/s. Babel Corporation Ltd., 12/1, Sangsad Avenue, Monipuripara, Dhaka.

  - M/s. Transcom Distribution Co. Ltd, 52 Motijheel C/A, Dhaka-1000.

  - M/s. Ahmed Enterprise, 18/8 Pllobi, Mirpur-12, Dhaka.

  - M/s. Belal & Brothers, House No. 407 (1st floor), Road No. 29, New DOHS, Mohakhali, Dhaka.

  - M/s. Pharma & Firm, 11/5, City Heart Building, 67, Naya Paltan, Dhaka.

  - M/s. Liza Enterprise, 81 Arjat Para Mosjid Complex, Tejgoan, Dhaka.

  - M/s. Smith & Anvil Limited, Ellal Chamber (3rd floor), 11 Motijheel C/A, Dhaka-1000.

  - M/s. Fardin Enterprise, House No. 39, Road No. 7, Block-C, Bonoshree, Rampura, Dhaka.

  - M/s. S. S. Scientific Corporation, Flat A3, House 17, Road 42, Gulshan 2, Dhaka.

  - M/s. Raj Trading Medicine Corner, 50/1, Raj Narayan Dhor Road, Lalbag, Dhaka.

  - M/s. Promixco Ltd., BGIC Tower (5th Fl.), 34, Topkhana Road, Dhaka-1000.

  - M/s. Kajla Trading, 70/1 Boro Mougbazar, Dhaka.

  - M/s. Ovetion Business, 43 Aziz Super Market (2nd floor), Shahabag, Dhaka.

  - M/s. S.M Enterprise, 30/6 Devidash Ghat, Kamalbag, Chalkbazar, Dhaka.

  - M/s. Primco Instruments, City Heart Building (8th floor), Room No. 1, 67 Noya Paltan, Dhaka.

  - M/s. .................................................................................................................................

Sd/-

|  | (A,K,M, Fazlul Haque) Deputy Inspector General (HQ) Prisons Directorate, Dhaka Phone-7300400 |
| --- | --- |